## Sheet1
CN | Site | EnglishName | ChineseName | Model | Supplier | Manufactures | SN | PO | FinanceNo | BuyDate | Department | IsPM | IsCal | ISkey | ManufactureLocation | ImportLot | LotLine | EquipmentStatus | Remark | QualificationDate | AssetType | EquipmentType | ParentCN | Use | QualificationReportNo | UserId | Cdt | Udt | OriginalValue(RMB) | Monthly_depreciation | Accumulated_depreciation | NetValue(RMB) | DFNO | Location | Station | ProjectNo | Length | Width | Height | NetWeight | Grade | Voltage | Power | Vacuum | Compressed Air | Nitrogen Gas | Location Remark | PictureUrl | Owner | CheckDate | CIP | Actual_User | Asset_Dept
YJS-CH2852003 | WUXI | Optical Power Meter | 光功率计 | PM-4212-SI3 |  | OPTOKON | PM2124026 | 85036 |  | 2014-12-25 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15070813 |  | Serviced | 170926资产盘点; |  | N | H |  | S |  | May.Zhao | 2014-12-26 13:41 | 2017-08-07 12:36 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CH2643062 | WUXI | Optical Power Meter | 光功率计 | PM-212-MPO | Finisar | OPTOKON | PM212M4427 | 74854 |  | 2014-04-04 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15090823 |  | In Calibration | 170926资产盘点;YJS-MK2407083;11.2整理 |  | N | H |  | S |  | May.Zhao | 2014-04-05 09:15 | 2017-08-07 12:36 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
NJS-CH2964002 | WUXI | Optical Power Meter | 光功率计 | PM-212-SI3/FC | OPTOKON A.S | OPTOKON | PM212S7617 | 625792 |  | 2015-05-19 | 2204-NPI |  | C | N | J | FNSR_WX_ZBQ_I_15040586 |  | In Calibration | 170926资产盘点;zhijun wang 领用 |  | N | H |  | S |  | May.Zhao | 2015-05-19 08:53 | 2017-04-17 14:10 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YGS-CH2010036 | WUXI | Optical Power Meter | 光功率计 | FPM-300 | Comstar | EXFO | 537607 | 32433 | WX14418 | 2010-11-14 | 2204-NPI | N | C | N | G | FNSR_WX_ZBQ_I_15030139 |  | Serviced | 170926资产盘点;;11.2整理 | 2011-01-20 | Y | H |  | S | Q-1102-027 | Jing.Ding | 2010-11-18 12:44 | 2017-04-21 10:41 | 707.8 | 0 | 707.8 | 0 | Z22101018369 | A4F-5*Connector Assy | NPI实验室 | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu | 2015-09-28 14:54 |  | Zhao Liu | 设备部
YJS-CH2014008 | WUXI | Optical Power Meter | 光功率计 | FPM-300 | 林普发展(香港)有限公司 | EXFO | 693683 | 64144 | WX14417 | 2013-06-13 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15030066 |  | Serviced | 170926资产盘点;;11.2整理 |  | Y | H |  | S |  | Jing.Ding | 2013-06-14 15:25 | 2017-04-21 10:41 | 2846.56 | 67.78 | 2304.39 | 542.17 |  | A4F-5*Connector Assy | NPI实验室 | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu | 2015-09-28 14:54 |  | Zhao Liu | 设备部
YJS-CH2690110 | WUXI | Optical Power Meter | 光功率计 | PM-212/FC |  | OPTOKON | PM2125775 | 80301 |  | 2014-08-14 | 1204-Equipment | N | C | N | J | FNSR_WX_ZBQ_I_15120401 |  | Stop | 170926资产盘点;YJS-MK2407188;11.2整理 |  | N | H |  | S |  | james.li | 2014-08-27 13:14 | [8 empty] | EQUP-Equipment Group
YJS-CH2183188 | WUXI | Ifinlium DCA-J Oacilloscope Mainframe | 宽带示波器 | 86100D | Finisar | KEYSIGHT | MY53500564 | 638803 | WX20720 | 2016-02-22 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_16020592 |  | Serviced | 170926资产盘点;;11.2整理 | 2016-03-15 | Y | H |  | S | EQ1602-022 | May.Zhao | 2016-02-22 09:14 | 2017-10-30 09:32 | 72666.8 | 1211.11 | 26644.46 | 46022.34 |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CD0009003 | WUXI | Ifinlium DCA-J Oacilloscope Mainframe | 宽带示波器 | 86100A | Sunnyvale | Agilent | US41060422 | 21190 |  | 2009-05-27 | 2204-NPI | N | C | N | J | 1993-09-04 |  | Serviced | 170926资产盘点;;11.2整理 |  | N | D |  | S |  | keqing.kang | 2010-03-18 12:48 | 2017-08-07 12:36 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CH2125023 | WUXI | Ifinlium DCA-J Oacilloscope Mainframe | 宽带示波器 | 86100C | Finisar | Agilent | MY47441259 | 44699 |  | 2011-12-08 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15050336? |  | In Calibration | 170926资产盘点;;11.2整理 |  | N | H | YJS-MK2407173 | S |  | keqing.kang | 2011-12-19 15:29 | 2017-12-22 08:21 | 0 |  |  |  | Z22101116895 | WUX*A4F-08*Cleaner Room* |  | SHG3-Parallel 1 | [12 empty] | meijin.zhu |  |  | meijin.zhu | 设备部
YJS-CH2144085 | WUXI | Opto-electronic module | 光模块 | 86105D |  | KEYSIGHT | US49080979 | 88226 |  | 2015-04-10 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15090825 |  | Serviced | 170926资产盘点;YJS-MK2407308，281选件 |  | N | H |  | S |  | zhenhua.you | 2015-04-10 11:50 | 2017-08-07 12:36 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CH2629002 | WUXI | Optical Module | 光模块 | 54754A | KEYSIGHT TECHNOLOGIES SINGAPORE (SALES) PTE. LTD. | KEYSIGHT | MY47490687 | 633615 | WX19401 | 2015-09-23 | 1102-Production Line | N | C | N | J | FNSR_WX_ZBQ_I_15090985 |  | Serviced | 170926资产盘点; | 2015-10-23 | Y | H |  | S | EQ1509-097 | sam.zhang | 2015-09-23 10:13 | 2016-02-02 14:30 | 118690.4 | 1978.17 | 53410.65 | 65279.75 |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CH2147089 | WUXI | Opto-electronic module | 光电模块 | 86112A | Finisar Corporation | KEYSIGHT | MY52020271 | 633079 |  | 2015-08-20 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15081427 |  | Serviced | 170926资产盘点; | 2017-08-06 | N | H | YJS-MJ2020001 | S | EQ1508-149 | nan.jin | 2015-08-20 11:23 | 2017-08-07 12:36 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 |  |  |  |  | B | [7 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CH2318052 | WUXI | Opto-electronic module | 光电模块 | 86115D | Finisar Malaysia Sdn Bhd | Agilent | US53100124 | 76677 |  | 2014-05-19 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15091266 |  | Serviced | 170926资产盘点;002选件 YJS-MK2407118 | 2015-03-31 | N | H |  | S | EQ1405-158 | keqing.kang | 2014-05-22 14:32 | 2017-12-22 08:21 | 0 |  |  |  | Z22101407757 | WUX*A4F-08*Cleaner Room* |  | SHG3-Parallel 1 | [12 empty] | meijin.zhu |  |  | meijin.zhu | 设备部
YJS-CB2072015 | WUXI | T/C Oven | 循环炉 | 107-EX | TESTEQUITY LLC | TESTEQUITY | 700881 | 59062 | WX18427 | 2013-01-18 | 1102-Production Line | N | C | N | J | FNSR_WX_ZBQ_I_15090827 |  | Stop | 170926资产盘点; |  | Y | B |  | S |  | zhaodong.shan | 2013-01-23 16:02 | 2017-10-24 14:39 | 23400.26 | 780.01 | 21840.24 | 1560.02 |  | WUX*A4F-08*Cleaner Room* |  | SHG3-Parallel 1 | 64cm | 42cm | 66cm | 40kg |  | 220 |  |  |  |  | NP实验室 |  | meijin.zhu | 2015-09-28 14:54 |  | Meijin.Zhu | 设备部
YJS-CB2147006 | WUXI | T/C Oven | 循环炉 | 107 | TESTEQUITY LLC | TESTEQUITY | 701166 | 78641 | WX25459 | 2014-06-20 | 1102-Production Line | N | C | N | J | FNSR_WX_ZBQ_I_16111820 |  | In Calibration | 170926资产盘点; | 2014-08-12 | Y | B |  | S | EQ1407-274 | May.Zhao | 2014-06-23 11:00 | 2017-07-25 11:50 | 21980.03 | 757.93 | 7579.3 | 14400.73 |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [5 empty] | 220 | [6 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CB2108191 | WUXI | Drying oven | 烘箱 | DKN412C | 上海金烛C | Yamato | J1608017 | 659508 |  | 2016-09-07 | 1113-NPI Production | P | C | N | J | FNSR_WX_ZBQ_I_16090278 | 3 | Stop | 170926资产盘点;NPI研磨室闲置 | 2016-10-17 | N | B |  | S | EQ1609-056 | May.Zhao | 2016-09-07 14:02 | 2017-08-03 13:08 | 9666 | [6 empty] | SH57-Q_wire |  |  |  |  | B | [7 empty] | JEVONS.JU
NGS-CD2410019 | WUXI | Digital Multimeter | 万用表 | 17B+ | 上海誉效C | FLUKE | 36260304WS | 663531 |  | 2016-10-17 | 1102-Production Line | N | C | N | G | FNSR_WX_ZBQ_I_16100536 | 19 | In Calibration | 170926资产盘点; | 2016-11-06 | N | D |  | S | EQ1610-110 | colin.li | 2016-10-17 10:10 | 2017-11-06 14:45 | 571 |  |  |  |  | WUX*A4F-08*Cleaner Room* |  | SHG3-Paral
NGS-CD2410031 | WUXI | Thermal infrared imager | 万用表 | 17B+ | 上海誉效C | FLUKE | 38201048WS | 678456 |  | 2017-05-02 | 1113-NPI Production | N | C | N | G | FNSR_WX_ZBQ_I_17041257 | 16 | Serviced | 170926资产盘点; | 2017-05-14 | N | D |  | S | EQ1705-006 | keqing.kang | 2017-05-02 13:19 | 2017-05-17 14:26 | 0 |  |  |  |  | WUX*4F*一期A-4F-生产-WSS package&研磨间 | NPI实验室/研磨间 | SH76-EDR |  |  |  |  | B | [7 empty] | zhao.liu
NJS-CD2415001 | WUXI | Digital Multimeter | 万用表 | EX-530 | GOLDLINK INDUSTRIES CO LTD | EXTECH | 150207586 | 628992 |  | 2015-08-04 | 2204-NPI |  | C | N | J | FNSR_WX_ZBQ_I_15071705 |  | Serviced | 170926资产盘点;;11.2整理 |  | N | D |  | S |  | May.Zhao | 2015-08-04 09:21 | 2017-09-05 09:47 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
NGS-CD2410029 | WUXI | Thermal infrared imager | 万用表 | 17B+ | 上海誉效C | FLUKE | 37852343WS | 677170 |  | 2017-04-02 | 2204-NPI | N | C | N | G | FNSR_WX_ZBQ_I_17031747 | 1 | Serviced | 170926资产盘点; | 2017-04-12 | N | D |  | S | EQ1704-009 | hailing.feng | 2017-04-02 12:05 | 2017-06-08 13:21 | 0 |  |  |  |  | A4F-5*Connector Assy | NPI 实验室 | SHG3-Parallel 1 |  |  |  |  | B | [7 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
NGS-CD2410016 | WUXI | Digital Multimeter | 万用表 | 17B+ | 上海誉效C | FLUKE | 35260437ws | 661376 |  | 2016-09-24 | 2204-NPI | N | C | N | G | FNSR_WX_ZBQ_I_16091308 | 13 | Serviced | 170926资产盘点; | 2016-10-10 | N | D |  | S | EQ1609-197 | sam.zhang | 2016-09-24 17:19 | 2017-09-13 14:15 | 571 |  |  |  |  | A4F-5*Connector Assy |  | SHG9-Telecom TRx |  |  |  |  | B | [7 empty] | Meijin.Zhu |  |  | Quqiao Li | 设备部
NJS-CD2413003 | WUXI | Digital Multimeter | 万用表 | U1252B | GOLDLINK INDUSTRIES CO LTD | Agilent | MY54250168 | 638703 |  | 2015-12-04 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15120133 |  | In Calibration | 170926资产盘点;;11.2整理 | 2015-12-15 | N | D |  | S | EQ1512-026 | May.Zhao | 2015-12-04 14:13 | 2017-01-04 16:15 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
NGS-CD2007353 | WUXI | Digital Multimeter | 万用表 | 17B | 固安捷(中国)工业品销售有限责任公司 | FLUKE | 16070844 | 39293 |  | 2011-05-27 | 2204-NPI | N | C | N | G |  |  | Serviced | 170926资产盘点;;11.2整理 |  | N | D |  | S |  | keqing.kang | 2011-05-31 14:31 | 2016-06-29 10:32 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CD2107006 | WUXI | Digital Multimeter | 数字万用表 | 2701 | Tektronix | KEITHLEY | 4053279 | 612359 | WX11606 | 2014-06-30 | 2204-NPI |  | C | N | J | FNSR_WX_ZBQ_I_14060954 |  | Serviced | 170926资产盘点;;11.2整理 | 2014-07-31 | Y | D |  | S | EQ1407-060 | keqing.kang | 2014-06-30 10:49 | 2017-03-27 18:11 | 14100.99 | 235.02 | 9635.68 | 4465.31 |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu | 2015-09-28 14:54 |  | Zhao Liu | 设备部
YJS-CD2070013 | WUXI | Digital Multimeter | 数字万用表 | 34401A | 无锡国联 | KEYSIGHT | MY53019065 | 638801 |  | 2015-11-25 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15111133 |  | Serviced | 170926资产盘点;11.2整理程云鹤 | 2015-12-07 | N | D |  | S | EQ1511-108 | Jing.Ding | 2015-11-25 09:04 | 2017-08-07 12:36 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-MD2002012 | WUXI | DC Power Supply | 直流电源 | E3648A | Finisar | Agilent | MY50400070 | 39556 |  | 2011-05-27 | 2204-NPI | N | C | N | J |  |  | In Calibration | 170926资产盘点;;11.2整理 |  | N | D | yjs-mk2009772 | S |  | May.Zhao | 2011-06-03 14:05 | 2017-11-14 15:03 | 0 |  |  |  | Z22101109819 | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-MD2058144 | WUXI | DC Power Supply | 直流电源 | E3640A | GOLDLINK INDUSTRIES CO LTD | KEYSIGHT | MY55406213 | 639084 |  | 2015-11-25 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15111133 |  | Serviced | 170926资产盘点;;11.2整理 | 2015-12-07 | N | D |  | S | EQ1511-107 | Huihui.Gu | 2015-11-25 08:47 | 2015-12-03 15:31 | [5 empty] | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-MD2058092 | WUXI | DC Power Supply | 直流电源 | E3640A |  | Agilent | MY54026608 | 81763 |  | 2014-09-15 | 2204-NPI | N | C | N | J |  |  | In Calibration | 170926资产盘点;机台1;11.2整理 | 2014-09-25 | N | D | YGS-MK2009214 | S | EQ1409-097 | May.Zhao | 2014-09-15 11:49 | 2017-12-29 16:45 | [5 empty] | WUX*A4F-08*Cleaner Room* |  | SHG3-Parallel 1 | [12 empty] | meijin.zhu |  |  | meijin.zhu
YJS-MD2058091 | WUXI | DC Power Supply | 直流电源 | E3640A |  | Agilent | MY54036199 | 81763 |  | 2014-09-15 | 2204-NPI | N | C | N | J |  |  | In Calibration | 170926资产盘点;机台2;11.2整理 | 2014-09-25 | N | D | YGS-MK2009214 | S | EQ1409-097 | May.Zhao | 2014-09-15 11:49 | 2017-08-07 12:35 | [5 empty] | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CH2495013 | WUXI | Optical Attenuator | 光衰减器 | N7768A | KEYSIGHT | KEYSIGHT | MY50601131 | 641718 | WX20589 | 2016-01-25 | 1102-Production Line | N | C | N | J | FNSR_WX_ZBQ_I_16010788 |  | In Calibration | 170926资产盘点;;11.2整理 | 2016-02-29 | Y | H |  | S | EQ1601-072 | Huihui.Gu | 2016-01-25 14:34 | 2017-05-10 14:07 | 178599.16 | 2976.65 | 68462.98 | 110136.18 |  | A4F-5*Connector Assy | NPI实验室 | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YGS-MK0228047 | WUXI | Working bench | 工作台 | [5 empty] | WX17316 | 2009-04-10 | 1102-Production Line |  |  | N |  | FNSR_WX_ZBQ_I_15110518 |  | Idle | 170926资产盘点;;11.2整理 |  | Y | K |  |  |  |  | 2010-11-24 09:44 | 2017-07-19 15:17 | 0 | 0 | 0 | 0 |  | WUX*A1F-30*Idle Machine*泓明仓 | 泓明仓 | SH55-QSFP SR | [12 empty] | Yurun.Hu | 2015-09-28 14:54 |  |  | 设备部
YGS-MK2009481 | WUXI | Working bench | 工作台 |  | 上海发米 |  |  | 37942 | WX17269 | 2011-04-27 | 2204-NPI | N | M | N | G | FNSR_WX_ZBQ_I_15070096 |  | Serviced | 170926资产盘点;;11.2整理 |  | Y | K |  | S |  | Ruixin.Nan | 2011-04-27 15:02 |  | 423.49 | 0 | 423.49 | 0 |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu | 2015-09-28 14:54 |  | Zhao Liu | 设备部
YGS-MK2009504 | WUXI | Working bench | 工作台 |  | 上海发米 |  |  | 37942 | WX03825 | 2011-04-28 | 2204-NPI | N | M | N | G |  |  | Serviced | 170926资产盘点;;11.2整理 |  | Y | K |  | S |  | Ruixin.Nan | 2011-04-29 17:19 | 2017-04-19 09:52 | 1232.03 | 0 | 1232.03 | 0 |  | A4F-5*Connector Assy | NPI实验室 | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu | 2015-09-28 14:54 |  | Zhao Liu | 设备部
YJS-MH2010243 | WUXI | Microscope | 显微镜 | SZ51 | 西努光学 | 西努光学 |  | 34100 | WX19828 | 2011-01-27 | 1102-Production Line | P | M | N | J | FNSR_WX_ZBQ_I_15120445 |  | Serviced | 170926资产盘点;;11.2整理 | 2011-04-26 | Y | H |  | S | Q-1105-024 | Ruixin.Nan | 2011-02-04 08:35 | 2011-05-21 13:00 | 0 | 0 | 0 | 0 |  | 2017盘点未盘到 |  | SH39-Dual WSS | [13 empty] | 2015-09-28 14:54
YGS-MH2058036 | WUXI | Microscope | 显微镜 | SZ51 | 西努光学 | 西努光学 |  | 58011 | WX19774 | 2012-12-18 | 1102-Production Line | N | M | N | G | FNSR_WX_ZBQ_I_15120445 |  | Serviced | 170926资产盘点;;11.2整理 |  | Y | H |  | S |  | Jianbo.Wang | 2012-12-27 14:08 |  | 0 | 0 | 0 | 0 |  |  |  | SH23-WSS DWP | [13 empty] | 2015-09-28 14:54
YGS-MH2007307 | WUXI | Microscope | 显微镜 | ZOOM645 | 西努光学 | 江南禹城 | 113444 | 75096 | WX17172 | 2014-03-13 | 1102-Production Line | N | M | N | G | FNSR_WX_ZBQ_I_15070906 |  | Serviced | 170926资产盘点;;11.2整理 |  | Y | H |  | S |  | sam.zhang | 2014-03-26 14:12 | 2016-11-17 09:37 | 1900.3 | 41.31 | 1239.31 | 660.99 |  | 2017盘点未盘到 |  | SHG3-Parallel 1 | [12 empty] | Zhao.Liu | 2015-09-28 14:54
NJS-MH2010194 | WUXI | Barcode Scanner | 扫描枪 | LS2208 | 上海比科翱商贸发展有限公司 | Symbol | Y6WPBB | 35361 |  | 2011-01-12 | 1102-Production Line | N | M | N | J | FNSR_WX_ZBQ_I_15050336? |  | Idle | 170926资产盘点;;11.2整理 |  | N | H |  | S |  | Ruixin.Nan | 2011-01-17 10:55 | 2017-07-19 16:51 | [5 empty] | WUX*A1F-30*Idle Machine*泓明仓 | 泓明仓 | SHG3-Parallel 1 | [12 empty] | yurun.hu |  |  |  | 设备部
NGS-MH2062262 | WUXI | Barcode Scanner | 扫描枪 | LS2208 | 上海比科翱商贸发展有限公司 | Symbol | N7JUD5 | 60729 |  | 2013-02-27 | 2204-NPI | N | M | N | G | FNSR_WX_ZBQ_I_15071424 |  | Serviced | 170926资产盘点;;11.2整理 |  | N | H |  | S |  | Ruixin.Nan | 2013-02-28 08:41 | 2017-04-19 09:52 | [5 empty] | A4F-5*Connector Assy | NPI实验室 | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
NGS-MB2162008 | WUXI | Solder Controller | 焊台 | MX-PS5200 | 上海誉效C | Metcal | 51012 | 673679 |  | 2017-02-13 | 2204-NPI | N | M | N | G | FNSR_WX_ZBQ_I_17020559 | 1 | Serviced | 170926资产盘点; | 2017-02-26 | N | B |  | S | EQ1702-039 | yingming.gong | 2017-02-13 17:58 | 2017-02-26 21:14 | 4222 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 |  |  |  |  | B | [7 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YGS-MK0228197 | WUXI | Working bench | KCL | [5 empty] | WX01538 | 2009-04-10 | 1102-Production Line |  |  | N |  |  |  | Serviced | 170926资产盘点;;11.2整理 |  | Y | K |  |  |  |  | 2010-11-24 09:44 |  | 0 | 0 | 0 | 0 |  | P1-4-17 |  | SH29-10G Tunable | [12 empty] | Jingchen.Fei | 2015-09-28 14:54
NGS-MK2451065 | WUXI | Rack | 机架 | 1961*800*580 | GOLDLINK INDUSTRIES CO LTD | 上海宏翔 |  | 637767 |  | 2015-12-11 | 2204-NPI |  | M | N | G | FNSR_WX_ZBQ_I_15111261 |  | Serviced | 170926资产盘点;;11.2整理 |  | N | K |  | S |  | yurun.hu | 2015-12-11 08:55 | 2015-12-16 13:13 | [5 empty] | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CH3010001 | WUXI | Digital serial analyzer | 示波器 | DSOX3034T | GOLDLINK INDUSTRIES CO LTD | KEYSIGHT | MY55280241 | 639084 | WX19940 | 2015-11-25 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15111133 |  | Serviced | 170926资产盘点; | 2015-12-07 | Y | H |  | S | EQ1511-107 | Huihui.Gu | 2015-11-25 08:55 | 2017-12-21 08:27 | 61752.45 | 1029.21 | 25730.2 | 36022.25 |  | WUX*A4F-08*Cleaner Room* |  | SHG3-Parallel 1 | [12 empty] | meijin.zhu |  |  | meijin.zhu
YJS-MK2808001 | WUXI | The loop flux tester | 环路通量测试仪 | MPX- | LINPU DEVELOPMENT (HONG KONG) LIMITED | Arden | 1157 | 636497 | WX19939 | 2015-10-21 | 1102-Production Line | N | M | N | J | FNSR_WX_ZBQ_I_15100548 |  | Serviced | 170926资产盘点; | 2015-12-02 | Y | K |  | S | EQ1510-082 | sam.zhang | 2015-10-21 13:12 | 2016-02-02 14:30 | 166666.67 | 2777.78 | 69444.45 | 97222.22 |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CH2277003 | WUXI | Signal Quality Analyzer | 信号质量分析仪 | MP1800A | Anritsu company limited | Anritsu | 6201232557 | 56270 | WX25130 | 2012-12-27 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_17010615 |  | Serviced | 170926资产盘点; |  | Y | H |  | S |  | zhaodong.shan | 2013-01-06 09:29 | 2017-05-25 14:13 | 165143.2 | 16514.32 | 165143.2 | 0 |  | A4F-5*Connector Assy | NPI实验室 | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-MH0083013 | WUXI | Lightwave Measurement System | 光波测量系统 | 8164A | SIMBOL TEST SYSTEMS INC | Agilent | DE40704274 | 23893 |  | 2009-11-09 | 2204-NPI |  | M | N | J | FNSR_WX13070827 |  | Serviced | 170926资产盘点; |  | N | H |  | S |  | yurun.hu | 2010-03-18 12:51 | 2017-07-18 08:26 | 0 |  |  |  |  | A4F-5*Connector Assy | NPI lab | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CD2491001 | WUXI | Signal Generator | 信号发生器 | MU181000A | SILVER-COM (HONG KONG) CO., LIMITED | Anritsu | 6201724402 | 671871 | WX25912 | 2017-04-28 | 1102-Production Line | N | C | N | J | FNSR_WX_ZBQ_I_17041010 | 1 | Serviced | 170926资产盘点; | 2017-05-07 | Y | D |  | S | EQ1704-193 | hailing.feng | 2017-04-28 13:09 | 2018-01-24 14:40 | 48551.72 | 809.2 | 6473.6 | 42078.12 |  | WUX*A4F-08*Cleaner Room* |  | SH57-Q_wire |  |  |  |  | B | [5 empty] | NP实验室 |  | meijin.zhu |  |  | meijin.zhu | 设备部
NGS-CD2020114 | WUXI | Source Meter | 数字源表 | 2400 | TEKTRONIX HONG KONG LTD | Keithley | 4308525 | 673523 |  | 2017-03-03 | 2204-NPI | N | C | N | G | FNSR_WX_ZBQ_I_17030034 | 1 | In Calibration | 170926资产盘点; | 2017-03-07 | N | D |  | S | EQ1703-045 | keqing.kang | 2017-03-03 13:29 | 2017-12-21 09:29 | 1568 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 |  |  |  |  | B | [7 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
NGS-MB2162008 | WUXI | Solder Controller | 焊台 | MX-PS5200 | 上海誉效C | Metcal | 51012 | 673679 |  | 2017-02-13 | 2204-NPI | N | M | N | G | FNSR_WX_ZBQ_I_17020559 | 1 | Serviced | 170926资产盘点; | 2017-02-26 | N | B |  | S | EQ1702-039 | yingming.gong | 2017-02-13 17:58 | 2017-02-26 21:14 | 4222 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 |  |  |  |  | B | [7 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CH3010001 | WUXI | Digital serial analyzer | 示波器 | DSOX3034T | GOLDLINK INDUSTRIES CO LTD | KEYSIGHT | MY55280241 | 639084 | WX19940 | 2015-11-25 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_15111133 |  | Serviced | 170926资产盘点; | 2015-12-07 | Y | H |  | S | EQ1511-107 | Huihui.Gu | 2015-11-25 08:55 | 2017-12-21 08:27 | 61752.45 | 1029.21 | 25730.2 | 36022.25 |  | WUX*A4F-08*Cleaner Room* |  | SHG3-Parallel 1 | [12 empty] | meijin.zhu |  |  | meijin.zhu
YJS-CD2329003 | WUXI | AC and DC current probe | 交直流电流探头 | N2893A | KEYSIGHT TECHNOLOGIES SINGAPORE (SALES) PTE. LTD. | KEYSIGHT | JP57071419 | 685189 | WX27457 | 2017-09-07 | 1102-Production Line | N | M | N | J | FNSR_WX_ZBQ_I_17090251 | 8 | Serviced | 170926资产盘点; | 2017-09-21 | Y | D |  | S | EQ1709-065 | dick.tian | 2017-09-07 09:20 | 2017-09-21 10:52 | 26311.38 | 438.52 | 1754.08 | 24557.3 |  |  |  | SHG3-Parallel 1 |  |  |  |  | B | [7 empty] | MEIJIN.ZHU
YJS-MH3142001 | WUXI | integrating spheres | 积分球 | S142C | THORLABS, INC. | THORLABS | 17072123 | 687804 |  | 2017-08-09 | 2204-NPI | N | M | N | J | FNSR_WX_ZBQ_I_17080367 | 3 | Serviced | 170926资产盘点; | 2017-09-05 | N | H |  | S | EQ1708-095 | hailing.feng | 2017-08-09 09:57 | 2017-09-05 14:11 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 |  |  |  |  | B | [7 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CH2109116 | WUXI | Optical Power and Energy Meter | 光功率计与能量计 | PM100D | THORLABS, INC. | THORLABS | P0016625 | 687804 |  | 2017-08-09 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_17080367 | 2 | Serviced | 170926资产盘点; | 2017-09-05 | N | H |  | S | EQ1708-095 | hailing.feng | 2017-08-09 09:54 | 2017-09-05 14:11 | 0 |  |  |  |  | A4F-5*Connector Assy |  | SHG3-Parallel 1 |  |  |  |  | B | [7 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
YJS-CA2021068 | WUXI | micrometer | 千分尺 | 0-30mm | 无锡国联 | TESA | 6K203202 | 611014 |  | 2014-03-28 | 2204-NPI | N | C | N | J | FNSR_WX_ZBQ_I_14040026 |  | Serviced | 170926资产盘点;设备接收间 |  | N | A |  | S |  | Jing.Ding | 2014-03-28 12:59 | 2017-04-21 10:42 | 0 |  |  |  |  | A4F-5*Connector Assy | NPI实验室 | SHG3-Parallel 1 | [12 empty] | Meijin.Zhu |  |  | Zhao Liu | 设备部
NO | WUX | MiniBERT |  |  | Finisar | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | /
NO | WUX | MiniBERT |  |  | Finisar | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | /
NO | WUX | QUICK 990 | 烘枪 |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | /
80009495 | WUX | WUX-D80009495 | 电脑 | 5050MT |  | Dell | 87KJNK2 | 684809 | WX26483 | 2017-07-05 | Parallel NPI |  |  |  |  | FNSR_WX_ZBQ_I_17070092 | 33 | Active |  | 1899-12-31 |  | PC.Desktop |  |  |  | XIAOLIN.DUAN | 2017-07-05 09:57 | 2018-01-25 10:52 | 6785.12 | 0 | 0 | 5654.24 |  | WUX*B3F-40*NCR*P2-3-37 |  | SHG3 | [12 empty] | Kenny.cheng | 1899-12-31 |  | Kenny.cheng | IT
80009507 | WUX | WUX-D80009507 | 电脑 | 3050MT |  | Dell | 88KKNK2 | 684809 | WX26491 | 2017-07-05 | Parallel NPI |  |  |  |  | FNSR_WX_ZBQ_I_17070092 | 34 | Active |  | 1899-12-31 |  | PC.Desktop |  |  |  | XIAOLIN.DUAN | 2017-07-05 09:57 | 2017-07-10 10:53 | 5343.41 | 0 | 0 | 4452.83 |  | 一期4F NPI lab |  | SHG3 | [12 empty] | Kenny.cheng | 1899-12-31 |  | Kenny.Cheng | IT
80009686 | WUX | WUX-E80009686 | 电脑 | IPC-610H |  | Advantech | KAA7170982 | 685134 | WX26696 | 2017-08-01 | Parallel NPI |  |  |  |  | FNSR_WX_ZBQ_I_17071423 | 37 | Active |  | 1899-12-31 |  | IPC |  |  |  | XIAOLIN.DUAN | 2017-08-01 09:05 | 2017-08-02 09:34 | 10659.24 | 0 | 0 | 9178.79 |  | 一期4F NPI lab |  | SHG3 | [12 empty] | Kenny.cheng | 1899-12-31 |  | Kenny.Cheng | IT
80008852 | WUX | WUX-D80008852 | 电脑 | 3046MT |  | Dell | 92PMZH2 | 673492 | WX25179 | 2017-02-15 | Parallel NPI |  |  |  |  | FNSR_WX_ZBQ_I_17020560 | 6 | Active |  | 1899-12-31 |  | PC.Desktop |  |  |  | XIAOLIN.DUAN | 2017-02-15 11:31 | 2017-11-03 15:58 | 5061.11 | 0 | 0 | 3514.64 |  | 一期4F NPI lab |  | SHG3 | [12 empty] | Kenny.cheng | 1899-12-31 |  | Kenny.Cheng | IT